## PERMIT
UT CONSTRUCTION AND GENERAL DESCRIPTION OF WORK TO BE COVERED BY PERMIT
Project Name: |  |  | Project #:
(Assigned by IP&C Department)
GENERAL DESCRIPTION OF WORK TO BE COVERED BY PERMIT
The pre-construction Risk Assessment requires utilization of the current "Guidelines for Design and Construction of Hospital and Health Care Facilities", (guidelines) published by the American Institute of Architects (AIA), and/or other applicable standards (NFPA, SFC, IBC, etc.).
AREA OR LOCATION OF WORK:
Building(s):
Floor(s):
Unit(s)/Departments(s):
Room(s):
UMC Project Manager: |  | Cell #
BRIEF OUTLINE OF WORK SCOPE:
CONTRACTOR CONTACT INFO:
Company | Name |  | Cell Phone
GC:
Elec:
Fire Protection:
Plumbing:
HVAC:
1. APPROVAL OF THIS PERMIT DOES NOT RELIEVE THE CONTRACTOR(S) OF THEIR OBLIGATION/RESPONSIBILITY FROM INSTALLING EQUIPMENT OR MATERIALS IN STRICT COMPLIANCE WITH ALL APPLICABLE CODES AND REGULATIONS AND CONTRACT DOCUMENTS. 2. Contractor shall obtain daily ILSM Form, containment Log Sheet, and Hot Works Permit from the applicable departments.
An approved copy of the full Permit must be maintained on the job site for the duration of the project.
Revised: 6/15/23

## Above Ceiling Penetration Permi
Project Name: | 0 |  |  | Project #: | 0
ABOVE CEILING PENETRATION PERMIT
All rated fire and smoke barriers at UTMC shall be maintained in a condition equal to or better than original construction in terms of fire and smoke safety. Installing contractors are responsible for the reporting of breaches of any fire or smoke barrier that they create or discover in the course of their operations to UTMC Facilities Project Manager.
AREA OR LOCATION OF WORK:
Building(s): |  | 0
Floor(s): |  | 0
Unit(s) / Departments(s): |  | 0
Room(s): |  | 0
UT Project Manager: |  | 0 |  | Cell # | 0
BRIEF OUTLINE OF WORK SCOPE:
Life Safety prints of work scope area are attached to permit
CONTRACTOR CONTACT INFO:
| COMPANY |  | Date closed | Signature
GC: | #REF!
ELEC: | #REF!
FIRE PROTECTION: | #REF!
PLUMBING: | #REF!
HVAC: | #REF!
All fire and smoke barriers associated with this project have been properly sealed and inspected by UTMC project manager.
Date Penetration closed:
UTMC Project Manager:
0

## UTILITY
UT CONSTRUCTION AND GENERAL DESCRIPTION OF WORK TO BE COVERED BY PERMIT
Project Name: | 0 |  |  |  | Project #: | 0
UTILITY SYSTEMS IMPACT
CONSTRUCTION ACTIVITY
LEVEL | DESCRIPTION
0 | • No impact on utility or communication system. | No impact on utility or communication system.
1 | • Reuse existing utility with no expansion or additions needed, remove an existing utility. | Reuse existing utility with no expansion or additions needed, remove an existing utility.
| • Shut down of utility with no affect to the building systems. | Shut-down of utility with no affect to the building systems.
| • Expand existing telephone, data or TV communication system cabling. | Expand existing telephone, data or TV communication system cabling.
2 | • Expand/upgrade utilities within parameters of project. | Expand/upgrade utilities within parameters of project.
| • No impact on utility or communication system. | Shut-down or removal of an existing utility that MAY affect an area outside the parameter of the project, but will not affect direct patient care or a critical service/operation.
| • Any addition to or modification of the Emergency Electrical Power System and Medical Gas system. | Any addition to or modification of the Emergency Electrical Power System and Medical Gas system.
3 | • Add equipment. | Add equipment.
| • | Shut-Down of utility whose affects will impact any area outside the parameters of the project, direct patient care or a critical service/operation.
| • Any addition to or modification of the Emergency Electrical Power and Medical Gas System. | Any addition to or modification of the Emergency Electrical Power and Medical Gas System.
Utility |  |  | 0 | 1 | 2 | 3 | Interim Utility System Measures
Normal Electrical Power
Emergency Electrical Power
Chill Water
AHU/FCU
Ventilation/Ductwork/Isolation Exhaust
BAS/Controls
Steam
Process Water
Heating Hot Water
Potable Water (Hot or Cold)
Sanitary Sewer
Storm Drian/Rain Leader
Pneumatic Tube
Nurse Call
Overhead Paging/Speakers
Natural Gas
Oxygen (see NOTES below)
Vacuum (see NOTES below)
Medical Air (see NOTES below)
Nitrogen/Instrument Air (see NOTES below)
Nitrous Oxide (see NOTES below)
Radiation/Magnetic fields
Elevators
Other
Communications System |  |  | 0 | 1 | 2 | 3 | • Describe the steps that will be taken to mitigate the effects of the activity. • If a system is to be expanded describe how the additional capacity required is being utilized and if this has been field verified yet. • If a shutdown is required, describe the scope of the shutdown.
Computer/Data Cabling or Equipment
Telemetry
Hospital Pager Network (beeper)
Other | [6 empty] | 1. All utility shutdowns require a minimum of three(3) days notice to Plant Operations and affected parties. 2. Medical Gas Interruption procedure: contact the respiratory supervisor @ 419-218-4573 prior to shutting down any medical gas system.
Communications (TV, Telephone) Cabling or Equipment
Fire Alarm Systems
Security Systems
Other Overhead Cabling
An approved copy of the full Permit must be maintained on the job site for the duration of the project.

## DIG PERMIT
UT CONSTRUCTION DIG PERMIT
Project Name: | 0 |  |  |  |  | Project #: | 0
(Assigned by Department)
DIG PERMIT
DIG LOCATION: |  |  |  |  | NAME OF CONTRACTOR OR COMPANY:
SIGNATURE OF CONTRACTOR'S REP:
DATE:
UT PROJECT MANAGER:
PROJECT NAME OR W.O. #
THIS FORM MUST BE COMPLETED 5 WORKING DAYS PRIOR TO DIGGING
CONTRACTORS COPY MUST BE DISPLAYED AT THE WORK SITE
UTILITY | IN THE AREA? |  | NEEDS MARKED? |  | DATE MARKED | UT REPRESENTATIVES SIGNATURE
| YES | NO | YES | NO
PHONE
DATA
ELECTRICAL
CABLEVISION
STORM SEWER
SANITARY SEWER
GAS
LIQUID OXYGEN
DEISLE FUEL LINES
WATER
IRRIGATION
OTHER
BRIEF DESCRIPTION OF WORK TO BE DONE:
Route: | Facilities Information Systems |  |  |  |  | Copy 1 | Job file with UT Project Manager
| Electricians |  |  |  |  | Copy 2 | Contractor's Copy
Plumbers
Grounds

## INITIAL
INITIAL LIFE SAFETY ASSESSMENT
Project Name: |  | 0 | Project #: | 0
Building Name: |  | 0 | Location: | 0
NOTE: This form must be reviewed by EHRS or HSC Security. The Project Manager completes the continuous Evaluation Form and ensures all
Corrective Actions are in place for any "Immediate Start" project begins.
ITEM |  |  |  | Yes | No | POSSIBLE CORRECTIVE ACTIONS TO BE TAKEN
1 | Will fire alarm horns, strobes, bells, and speakers be disabled or found to be deficient?
2 | Will fire/smoke walls/floors/ceilings or doors be affected by construction or found to be deficient?
3 | Will smoke/heat detectors, or duct detectors be disabled or found to be deficient?
4 | Will manual fire alarm pull stations be disabled or found to be deficient?
5 | Will fire/smoke dampers be disabled or found to be deficient?
6 | Will exit egress corridors be obstructed during construction or found to be deficient?
7 | Will fire exits and stairways be obstructed during construction or found to be deficient?
8 | Will exit signs be disabled or obstructed or found to be deficient?
9 | Will emergency lighting (including lights on emergency power circuits) be disabled or found to be deficient?
10 | Will sprinkler system (including sprinkler heads and control valves) be disabled or found to be deficient?
11 | Will standpipes, standpipe cabinets and valves, and fire department connections outside the building , be obstructed or disabled during construction or found to be deficient?
12 | Will building fire extinguishers be obstructed during construction?
13 | Will additional fire extinguishers be required during construction or found to be deficient?
14 | Will self-closing and positive latching fire and smoke doors be obstructed or disabled or found to be deficient?
15 | Will automatic door closures or hold open devices be disabled or found to be deficient?
16 | Will a safe area of refuge be obstructed or inaccessible or found to be deficient?
17 | Will flammable or combustible materials be stored in the construction area? (Where?)
18 | Will flammable and/or hazardous materials be used during construction?
19 | Will any hazardous products stored or used without the Safety Data sheets (SDS) onsite?
20 | During construction, will there be cutting, welding, soldering and roofing? If yes, HOT WORKS PERMIT must be completed and approved prior to the Hot Work beginning.
21 | Will electrical panels (including all fire system panels, communication speakers and safety related panels) be affected during construction or found to be deficient?
22 | Will LOCKOUT/TAGOUT (LOTO) be required and in place during construction?
23 | Will emergency eye wash stations and showers be obstructed or disabled?
24 | Will additional Fire Drills be needed (per shift; per quarter)?
25 | Are Hazardous areas (verify proper construction) i.e. soiled utility, storage found to be deficient?
26 | Medical/compressed gas storage areas (i.e.. High low take-off, self closing 3/4hr door sealed to deck 1hr)
27 | Does architect need to submit a variance to CMS standard?
28 | Staff are educated and trained in UTMC's safety policies and procedures, & safety related requirements?
29 | Staff are educated and trained in ILSM when life safety is impaired, i.e., provisions of additional fire fighting equipment and its use training for staff; training of staff when structural or compartmentalization features of life safety are compromised?
30 | Employees are notified of specific construction/renovation locations, nature of work an associated hazards involved?
31 | Will the project create noise and/or vibration that may effect care or treatment of patients?
32 | Other?
POSSIBLE CORRECTIVE ACTIONS TO BE TAKEN BY THE CONSTRUCTION CONTRACTOR
A. Ensure free and unobstructed exits. Perform and document personnel training for alternate means of egress and post signs for alternate exits. Inspect alternate exits continuously. B. Ensure free and unobstructed access to Emergency Department and for fire, Police, and other emergency forces. C. Document fire and smoke resistive rating of partition material/structure. D. Develop and implement storage, housekeeping and debris removal policies/procedures. E. HSC Security to conduct and document continuous Fire Watch. The hospital has notified Paragon and TFD via email of the impairment. F. Adopt and document continuous hazard surveillance inspections of construction areas. G. Follow System Impairment Policies. H. All PENETRATIONS will be made and sealed the same day.
PM Name:
Scope reviewed & specific construction control activities (ex., eyewash, etc.) |  |  | Required | Not Required |  | Name:
SCOPE REVIEWED & continuous ILSM FORMS |  |  | Required | Not Required |  | Name:
Date:
An approved copy of the full Permit must be maintained on the job site for the duration of the project.

## FIRE WATCH
UT DAILY FIRE WATCH CHECKLIST
Project Name: |  | 0 |  |  |  | Project #: | 0
DAILY FIRE WATCH CHECK LIST
DATE | ISSUE IDENTIFIED (YES or NO) | TIME | INSPECTOR'S NAME, UNIT #, ID# |  | DETAILED ISSUE AND CORRECTIVE ACTION | COMPANY NAME
FIRE WATCH CHECKLIST:
Ensure exit egress, fire exits, and stairways are unobstructed.
Ensure sprinkler heads are unobstructed.
Ensure fire extinguishers are available and unobstructed.
Ensure construction materials are stored properly (discarded packaging or combustible materials).
If hot work is taking place, ensure permits are posted.
Check for any forms of ignition.
PHONE LIST
UT Police |  |  |  | 419-530-2600
HSC Security |  |  |  | 419-383-2600
Facilities Engineer |  |  |  | 419-383-4298
Environmental Health and Radiation Safety |  |  |  | 419-530-3600

## INTERIM
UT CONSTRUCTION AND RENOVATION PERMIT & ASSESSMENT WORKSHEETS
Project Name: | 0 |  | Project #: | 0
INTERIM LIFE SAFETY MEASURES
Interim Life Safety Measures (ILSM) are a series of administrative actions to be taken to compensate temporarily for the hazards posed by existing construction activities or Life Safety Code deficiencies. ILSM apply to all personnel, including construction workers, and are implemented during project development and continuously enforced through project completion.
The UTMC Interim Life Safety Measures are divided into two separate processes:
Step 1: | INITIAL ILSM Evaluation (page 6)
This form must be completed before any project work begins. Each "YES" answer list the possible actions (items A - 1) from the list provided. The Project Manager maintains a copy of this form until project closeout. A copy of the Initial ILSM Evaluation should be sent to HSC Security.
| NOTE: | The Project Manager must complete the initial evaluation for any "Immediate Start" project before any work begins.
Step 2: | DAILY ILSM Evaluation - Appendix D3 (this form is provided by the Project Manager when Applicable). This form must be completed each day that ILSM is in effect. The completed forms must be readily available. Comments should be made a applicable (i.e., description o Daily work, Hot Works required for that day, Fire Watch conducted, etc.). Use additional paper as necessary. Completed Daily ILSM forms are submitted to the HSC Security.
| Note: | The Project Manager must complete the daily evaluation for any "Immediate Start" Project before any work begins.
The Project Manager reviews the Daily ILSM forms periodically. The periodic review of the Daily ILSM forms must be readily available upon request by an authorized representative of the UT Safety and Health Department, HSC Security, or Facilities and Construction Department. HSC Security will maintain a copy of the Initial ILSM document. The Facilities and Construction Department will maintain the completed Daily ILSM forms as part of the project closeout documentation.
An approved copy of the full Permit must be maintained on the job site for the duration of the project.

## DAILY INTERIM
UT INTERIM LIFE SAFETY WORKSHEET FOR CONTRACTORS
Project Name: | 0 | Project #: | Permit #: | 0
DAILY INTERIM LIFE SAFETY WORKSHEET
Notes:
1. THIS FORM SHOULD BE MAINTAINED ON THE SITE.
2. THIS FORM SHOULD BE COMPLETED DAILY DURING ACTIVITIES REQUIRING ILSM (PHOTOCOPY THIS PAGE AS NEEDED).
3. COMPLETED ILSM FORMS WILL BE PICKED UP BY HSC SECURITY.
The following items are listed as equipment or systems, or Life Safety components to be reviewed when completing the ILSM Assessment Worksheet.
LOCATION: |  |  |  |  | ILSM ASSESSMENT DATE:
COMPLETED BY: |  | COMPANY:
ITEM |  |  |  | DATE: | [6 empty] | THRU
|  |  |  | SUN |  | MON |  | TUE |  | WED |  | THUR |  | FRI |  | SAT
|  |  |  | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N
1. Are fire alarm horns, strobes, bells, and speakers operational?
2. Are fire or smoke walls, floors, ceilings intact?
3. Are smoke or heat detectors, or duct detectors operational?
4. Are manual fire alarm pull stations unobstructed and operational?
5. Are fire and/or smoke dampers operational?
6. Are exit egress corridors, fire exits, or stairways unobstructed?
7. Are exit signs operational and correctly placed?
8. Are emergency lights (including lights on emergency power circuits) operational?
9. Are sprinkler systems (including sprinkler heads and control valves) operational?
10. Are standpipes, standpipe cabinets and valves, and fire department connections outside the building unobstructed and operational
11. Are building fire extinguishers and cabinets unobstructed?
12. Are additional fire extinguishers provided in the construction area?
13. Are fire and smoke doors are unobstructed, self-closing, and positive latching?
14. Are automatic door closures or hold open device operational?
15. Are safe areas of refuge accessible?
16. Are construction materials properly stored (discarded packaging or combustible material)?
17. Are all flammable and/or hazardous materials stored in approved safety cabinet, or stored offsite?
18. Will Hot Works, including cutting, welding, soldering and roofing, be conducted on this date? If yes, Hot Works Permit MUST BE
APPROVED AND POSTED ON THE JOB SITE BEFORE HOT WORKS BEGIN.
19. Are kitchen hood exhausts and kitchen hood fire suppression system operational?
20. Are electrical panels (including all fire system panels, communication speakers, safety related panels) unobstructed and operational?
ITEM |  |  |  | DATE: | [6 empty] | THRU
|  |  |  | SUN |  | MON |  | TUE |  | WED |  | THUR |  | FRI |  | SAT
|  |  |  | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N
21. Are all mechanical and electrical energy sources isolated with proper Lock-Out (LOTO) protection?
22. Are emergency eye wash stations and showers unobstructed and operational?
23. Are HEPA units in place and running, and is the room under negative pressure?
24. Temporary construction partitions are smoke-tight and built of noncombustible that will not contribute to the development and spread of fire?
25. All staff on the job site have read and understood the approved ICRA
26. Daily water flush ( flush fixtures downstream for minor plumbing work for at least 5 minutes before returning outlet to service)
27. All supply and return air grills are securely covered
28. HEPA filtered negative air is still depressurizing the work area
29. Air handling units or HEPA checked to see if new pre/final filters need installed
30. Vacuum and wet mop area during work and end of shift
31. Daily job site cleaning is being performed to remove dust and debris from surfaces
32. HEPA vacuums are on site and functioning
33. All Construction debris is properly covered during transport out of the job site
34. Walk off mat (e.g., sticky mats) are installed at all entry and exit points to the construction site and changed regularly when tackiness is lost
35. Anteroom – all personnel vacuum off before leaving work area or remove overalls, if required
36. EVS notified for daily cleaning around perimeter of construction site at end of day
37. All medical supplies have been removed or protected
38. Other?
ITEM # | DETAILED DESCRIPTION AND CORRECTIVE ACTION

## HOT WORK
UT HOT WORK PERMIT
Project Name: |  | 0 |  |  |  | Project #: | 0
HOT WORK PERMIT
BEFORE STARTING HOT WORK, ENSURE ALL SAFETY PRECAUTIONS ARE IN PLACE.
MAKE SURE AN APPROPRIATE FIRE EXTINGUISHER IS READILY AVAILABLE.
This permit is required for hot work operations, in a location other than that of a designated area. This includes work involving burning, welding and allied processes, heat treating, grinding, thawing pipe, powder driven fasteners, hot riveting and similar operations that produce a spark, flame or heat. This permit applies to only this job, in the area specified, during the time and date noted.
INSTRUCTIONS
Permit Authorizing Individual (PAI) |  |  |  | 1. Complete PRECAUTION AND SAFEGUARD CHECKLIST below.
2. Complete and post this form.
3. Verify fire watch
|  |  |  | 4. Send completed permit to: |  | Environmental Health and Radiation Safety
HSC: Hospital 0235
Main Campus CA 1110
PRECAUTION AND SAFEGUARD CHECKLIST
Hot work equipment is in satisfactory operating condition and in good repair.
Fully charged and operable fire extinguishers are provided in the immediate work area.
Requirements within 35 ft (11m) of hot work
The area is free from flammable liquids and combustible material. Combustibles that cannot be moved are shielded or protected against ignition.
Combustible materials on the floor have been swept for a radius of 35 ft (11m).
Combustible floor have been kept wet down, covered with damp sand, or protected by shielding, personnel.
Operating arc welding or cutting are protected from shock.
Edges of covers at the floor are tight to prevent sparks from going under them.
Work on walls or ceilings/enclosed equipment
Where hot work is done near combustible walls, partitions, ceilings or roofs, fire resistant shields or guards are used. Remove combustibles away from side or adjacent structures.
Openings or cracks in the walls, partitions, ceilings or roofs of combustible material, have been protected with fire-retardant shields or guards.
If hot work is done in close proximity to a sprinkler head, a wet rag is placed over the head and removed after completion.
Ducts and conveyor systems that might carry sparks to distant combustibles are protected or shut down.
Fire Watch (required when other than minor fires might develop, when combustibles are closer than 35', when combustibles are more than 35' away, but are easily ignited by sparks, or when wall openings within 35' expose adjacent areas to sparks).
A trained and equipped fire watch is provided during operations and at least 1 hour after, including breaks.
Nearby personnel are suitable protected against heat, sparks, slag and so on.
After welding is complete some means of warning that the metal is hot must be provided.
Permit Information
Work to be done: | [5 empty] | Location/Building/Floor:
Signature of Person doing job: | [5 empty] | Signature of Permit Authorizing Individual (PAI):
Permit Expires |  |  | Date: |  | Time: | I have verified that the above location has been Inspected and the required precautions and safeguards on the checklist to the right have been taken to prevent fire. Permission is authorized for work.
(no longer than 1 shift)
Final Check |  |  | Date: |  | Time:

## CLOSEOUT
UT POST CONSTRUCTION CLOSEOUT ASSESSMENT
Project Name: | 0 |  | Project #: |  | 0
Contractor:
POST CONSTRUCTION CLOSEOUT
UT POST-CONSTRUCTION CLOSEOUT ASSESSMENT
Confirm that the following items are in place and the name of the person responsible for that confirmation.
ITEM | DESCRIPTION |  |  | YES | N/A | DATE | INITIALS
1 | Integrity of all smoke/fire barriers is intact (penetrations are correctly sealed with UL Listed materials/assemblies and marked on floor plans).
2 | All fire/smoke doors are installed and functioning properly.
3 | "As Built" drawing has been turned over to the UTMC Project Manager.
4 | Project Specifications and Operating Manuals have been turned over to the Plant Operations Department.
5 | Air and Water Balance Reports have been confirmed as being within specifications and turned over to the UTMC Project Manager.
6 | Post construction filters have been installed, as appropriate.
7 | All electrical panels are labeled and have typed updated indexes.
8 | All valves are clearly marked as to system and area served. Valve chart is mounted appropriately.
9 | Fire Alarm and Suppression systems are intact and annunciation points are clearly indicated.
10 | Appropriate Plant Operations personnel have been in-serviced on all utility systems modified/affected.
11 | All affected utility systems are functioning within the specifications.
12 | All soap dispensers, paper towel dispensers, sharps containers, and toilet paper dispensers are installed.
13 | All security access devices are functioning properly.
14 | Cleaning of spaces and removal of debris post construction.
Company Name: |  | Date:
Print
Completed by: |  | Date:
Signature
Approved: |  | Date:
UT Project Manager
NOTE: THE FULL PERMIT, ALL DAILY ILSM FORMS ( Attachment "A"), ALL CONTAINMENT INSPECTION LOGS (Attachment "B"), AND THE HOT WORKS PERMIT iiiiiiiiii i i SHOULD BE SUBMITTED AT PROJECT CLOSEOUT.
An approved copy of the full Permit must be maintained on the job for the duration of the project.

## SECURITY
UT CONSTRUCTION PROJECT SECURITY ASSESSMENT WORKSHEETS
Project Name: |  | 0 |  |  | Project #: | 0
(Assigned by Department)
INITIAL SECURITY ASSESSMENT
[7 empty] | YES | NO
1 | Will construction/renovation/modifications affect the Safety and Security Department's Access Control System (Panic Buttons,
Magnetic Locks, Card Readers, etc.)?
2 | Will workers require access to work area after normal business hours or during holidays?
3 | UTMC Parking Permit.
4 | Have you made arrangements for workers to have in their possession UTMC ID Badges to be warn at all times
while on premises.
5 | Will workers require access to an area that only allows access by card reader?
RISK LEVEL - SPECIAL ACCESS AREAS:
Building |  |  | Bldg. Floor Unit/Department
Computer Rooms/Teledata Closets
Animal Care Areas
Radiation Holding Areas
High Hazard labs
Pharmacy
Secure patient areas.
ROOF AND ROADWAY OBSTUCTIONS
ROOF AND ROADWAY OBSTUCTIONS |  |  |  | Yes | No | Comments
1 | Will a crane, cherry-picker, or any other lifting device be used on this project?
2 | Will any work be done o or above any building roof? Partial Evacuation?
3 | Will any Fire Department connection be obstructed or closed?
4 | Will any street or alleyway be obstructed or closed?
EMERGENCY PROCEDURES
All contractors are required to follow the guidelines, safety procedures and protocol in the current UTMC Procedures
CONTRACTOR CONFIRMATION as covered by UTMC Video presented in FSB. | [6 empty] | Yes | No
1 | Emergency Preparedness Plans as described in the UTMC Safety Manual
2 | Fire Alarm (Code Red) response
3 | Emergency Phone Numbers (JC-80, SRC, Safety & Security, Project Manager)
4 | Standard Precautions
5 | Infection Control construction protocols
6 | Reporting of injuries
7 | Parking, Loading and Unloading of Tools, Equipment, and Supplies
8 | Access to Facility
9 | UTMC Smoke-free Environment Policy
10 | Non-UTMC Personnel Identification
11 | Appropriate Behavior, Patient Confidentially, and Dress Codes
SHUTTING DOWN OF A PROJECT FOR EMERGENCY OR NON-COMPLIANCE REASONS:
* Any UTMC employee is authorized to stop a construction project if a serious safety issue is observed, or if work may affect patient care.
* Any employee who stops a construction project should call the Work Control Center (419-383-3488) IMMEDIATELY.
An approved copy of the full Permit must be on the job site for the duration of the project.

## Risk Criteria
RISK CRITERIA FOR OTHER PROTECTIVE MEASURES WHEN PLANNING FOR DEMOLITION, CONSTRUCTION OR RENOVATION PROJECTS
Group 1 | Group 2 | Group 3 | Group 4
LOWEST | MEDIUM | MEDIUM HIGH | HIGHEST
1. Office areas | 1. Patient care units not listed in groups 3 or 4 | 1. Emergency department | 1. Clinic (transplant, oncology)
2. Lobbies |  | 2. Radiology/MRI | 2. Operating rooms, sterile processing
3. Non-patient care corridors |  | 3. Endoscopy areas | 3. Intensive care units (MICU & SICU)
| 2. Cafeteria/kitchen | 4. PACU | 4. Cardiac catheterization/angiography lab
4. Facility support (e.g. facilities, housekeeping) | 3. Admission & public areas | 5. Laboratories | 5. Inpatient oncology/dialysis/transplant units
|  | 6. Outpatient dialysis unit | 6. Pharmacy compounding areas
| 4. Patient care lobbies and corridors | 7. Physical therapy | 7. Cardiology nursing unit
|  | 8. Pharmacy (other than compounding) | 8. Anesthesia areas
9. Other areas where invasive surgical procedures may be done (e.g., ED trauma room, clinic procedure room)
9. Nuclear medicine/echo
10. Outpatient areas
10. Infusion areas
CONSTRUCTION ACTIVITY
| Type | Type | Type | Type
RISK LEVEL | A | B | C | D
Group 1 | I | II | II | III / IV
Group 2 | I | II | III | IV
Group 3 | I | III | III / IV | IV
Group 4 | II | III /IV | III / IV | IV
TYPE A | Inspection and noninvasive activities - Includes visual inspection and non-invasive activities that do not generate dust or require cutting of walls, drilling or sanding, short term work only, such as:
¨ Removal of ceiling tiles for visual inspection only (limited to one tile per 50 square feet)
¨ Painting (but not sanding) wall coverings
¨ Minor electrical work or minor plumbing without solder or torches
TYPE B | Small-scale, short-duration activities that create minimal dust - Includes, but not limited to, the following:
¨ Installation of telephone and computer cabling including within ceiling
¨ Access to chase spaces (e.g., vertical shaft in building or duct with floor to floor connection)
¨ Small carpentry projects (e.g., cutting of walls/ceilings where dust migration can be controlled)
¨ A maximum of 4 ceiling tile replacement within 50 square feet
¨ Minor mechanical repairs (e.g., relamping; hand tool operations)
¨ Short duration cutting, drilling, or sanding of very small areas where creation of dust can be mitigated and controlled (e.g., HEPA Vac or wet sanding)
TYPE C | Activities that generate a moderate to high level of dust or require demolition or removal of any fixed building components or assemblies - Includes, but not limited to, the following:
¨ Sanding of walls for painting or dry wall construction or any wall covering
¨ Removal of floor coverings, ceiling tiles and casework covering more than 20% of the total area
¨ New wall or ceiling construction
¨ Duct work or electrical work above ceilings
¨ Major cabling activities
¨ Any activity that cannot be completed within a single work shift
TYPE D | Major demolition and construction projects - Includes, but not limited to, the following:
¨ Activities that require consecutive work shifts
¨ Activities that require heavy demolition or removal of a complete cabling system
¨ New construction or extensive renovation
*TURN THIS FORM INTO Infection Prevention and Control PROJECT MANAGER

## HAZARD
UNIVERSITY OF TOLEDO HAZARD CONTROL CONSTRUCTION PERMIT
Project Name: |  | 0 |  | Permit/Project #: |  | 0 | 0
(Assigned by IP&C Department)
Location of Construction: |  |  |  | Project Start Date:
UTMC Project Coordinator: |  |  | 0 | Estimated Duration:
UTMC Project Coord. Phone: |  |  | 0 | Permit Expiration Date:
Company Performing Work: |  |  |  | Contractor Supervisor:
Contractor Supervisor Phone:
YES | NO | CONSTUCTION ACTIVITY |  | YES | NO | INFECTION CONTROL RISK GROUP
|  | TYPE A: Inspection, non-invasive activity |  |  |  | GROUP 1: Lowest Risk
|  | TYPE B: Small scale, short duration, moderate to high levels |  |  |  | GROUP 2: Medium Risk
|  | TYPE C: Activity generates moderate to high levels of dust or greater than 8 hour work shift for completion |  |  |  | GROUP 3: Medium/High Risk
|  | TYPE D: Major duration and construction activities requiring consecutive work shifts |  |  |  | GROUP 4: Highest Risk
CLASS I |  | 1) | Execute work by methods to minimize stirring up dust from construction operations. |  | 3) | Minor Demolition for Remodeling. Refer to policies for minor disruptions.
|  | 2) | Immediately replace any ceiling the displaced for visual inspection. |  | 4) | Appropriately clean-up and follow disposal procedures.
CLASS II |  | 1) | Provide active means to prevent airborne dust from dispersing into atmosphere. |  | 6) | Use a dust mat to control dust at entrance & exit.
|  | 2) | Dampen work surfaces to control dust while cutting. |  | 7) | Wet mop and/or vacuum with HEPA filtered vacuum before leaving work area.
|  | 3) | Seal unused doors with tape. |  | 8) | Appropriately clean-up and follow disposal procedures.
|  | 4) | Block off and seal all ductwork (e.g. vents) |  | 9) | Wipe surfaces with a disinfectant.
|  | 5) | Isolate HVAC system in areas where work is being performed. |  | 10) | Upon completion, restore HVAC system where work was performed.
CLASS III |  | 1) | Obtain infection control permit before construction begins. |  | 8) | Vacuum work area with HEPA filtered vacuums
|  | 2) | Isolate HVAC system in area where work is being done to prevent contamination of the duct system. |  | 9) | Remove material in sections & contain construction waste before transport in covered carts/containers. Tape covering.
Date |  | 3) | Block off and seal all ductwork (e.g. vents) |  | 10) | Wet mop with disinfectant to control dust.
|  | 4) | Remove all movable objects from the work area. |  | 11) | Coordinate cleaning with Environmental Services.
Initials |  | 5) | Complete all critical barriers or implement control cube method before construction begins. (No containment penetrations) |  | 12) | Do not remove barriers from work area until completed project is thoroughly cleaned by Environmental Services.
|  | 6) | Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. Use air exhaust diffuser if available. |  | 13) | Remove barrier materials carefully to minimize spreading of dirt & debris associated with construction from work area.
|  | 7) | Use a walk off mat to control dust at entrance & exit.
CLASS IV |  | 1) | Obtain infection control permit before construction begins. |  | 9) | All personnel entering work site are required to wear shoe covers.
|  | 2) | Isolate HVAC system in area where work is being done to prevent contamination of the duct system. |  | 10) | Use a walk off mat to control dust at entrance & exit.
Date |  | 3) | Block off and seal all ductwork (e.g. vents) |  | 11) | Vacuum work area with HEPA filtered vacuums.
|  | 4) | Remove all movable objects from the work area. |  | 12) | Wet mop with disinfectant to control dust.
Initials |  | 5) | Complete all critical barriers or implement control cube method before construction begins. (No containment penetrations) |  | 13) | Remove material in sections & contain construction waste before transport in tightly covered carts/containers. Tape covering.
|  | 6) | Seal holes, pipes, conduits, and punctures appropriately. |  | 14) | Coordinate cleaning with Environmental Services.
|  | 7) | Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. Use air exhaust diffuser if available. |  | 15) | Do not remove barriers from work area until completed project is thoroughly cleaned by Environmental Services.
|  | 8) | Construct a transition or anteroom & require all personnel to pass through this area to be vacuumed or wear coveralls that are removed each time they leave the work site. |  | 16) | Remove barrier materials carefully to minimize spreading of dirt & debris associated with construction from work area.
Additional Requirements:
Date: | Initials | 12 Hour Uninterrupted exchange required |  | Date: | Initials | Exceptions/Additions to this permit are attached
Permit Request by: (Print) |  |  |  | Date: |  | Signature:
Permit Authorized by: (Print) |  |  |  | Date: |  | Signature:

## RC III_IV
UNIVERSITY OF TOLEDO HAZARD CONTROL CONSTRUCTION PERMIT (Risk Category III and IV or at the discretion of Infection Control)
Project Name: | 0 | Permit/Project #: | 0
(Assigned by Department)
ITEM |  |  |  | Yes | No
1 | Will areas surrounding the project area have any potential impact (e.g. floor below, above, lateral, behind)? If yes, please list below.
Description/ Corrective Action
2 | Have the specifics of the site of been identified (patient room, medication room, etc.)? Please list below.
Description/ Corrective Action
3 | Have issues related to ventilation, plumbing, and electrical in terms of the occurrence of probable outages been identified? If yes, please list below.
Description/ Corrective Action
4 | Have containment measures, including types of barriers, (for example, solids walls) been identified? Will HEPA filtration be required? If yes, please list below.
Description/ Corrective Action
5 | Do potential risks exist for water damage? Is there a risk due to compromising structural integrity (for example, wall, ceiling, roof)? If yes, please list below.
Description/ Corrective Action
6 | Can or will the work be done during non-patient-care hours? If yes, please list below.
Description/ Corrective Action
7 | Do plans allow for adequate number of isolation/negative airflow rooms? Please list below.
Description/ Corrective Action
8 | Do the plans allow for the required number and type of hand-washing sinks? Does the infection prevention and control staff agree with the minimum number of sinks for this project? (Verify against Facility Guidelines Institute (FGI) design and construction guidelines for types and area.) Please list below.
Description/ Corrective Action
9 | Does the infection prevention and control staff agree with the plans relative to clean and soiled utility rooms?
Description/ Corrective Action
10 | Have containment issues with the project team, for example, traffic flow, housekeeping, debris removal (how and when) been discussed?
Description/ Corrective Action

## Cafeteria Sales Permit
CAFETERIA SALES ILSM PERMIT
Project Name: | 0 | Project #: | 0
DAILY INTERIM LIFE SAFETY WORKSHEET
Notes:
1. THIS FORM SHOULD BE MAINTAINED ON THE SITE.
2. THIS FORM SHOULD BE COMPLETED DAILY DURING ACTIVITIES REQUIRING ILSM (PHOTOCOPY THIS PAGE AS NEEDED).
3. COMPLETED ILSM FORMS WILL BE PICKED UP BY ENVIRONMENTAL HEALTH AND RADIATION SAFETY
The following items are listed as equipment or systems, or Life Safety components to be reviewed when completing the ILSM Assessment Worksheet.
LOCATION: |  |  |  | ILSM ASSESSMENT DATE:
COMPLETED BY: |  | COMPANY:
ITEM |  |  | DATE: | [6 empty] | THRU
|  |  | SUN |  | MON |  | TUE |  | WED |  | THUR |  | FRI |  | SAT
|  |  | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N
1. Are manual fire alarm pull stations, fire extinguishers, electrical panels and other safety devices unobstructed?
2. Are fire exits, egress hallways or stairways unobstructed (hallways must maintain an 8ft clearance)?
3. Are combustible materials properly stored (discarded packaging or combustible material)?
4. Are electrical panels (including all fire system panels, communication speakers, safety related panels) unobstructed and operational?
5. The cafeteria sale is attended at all times?
Employee Initials
ITEM #