Sensor locations

| Forest Station |  |
| --- | --- |
| Data logger/sensors | Height/Depth (m) |
| Data logger (CR3000, w/o battery) | 1.5 |
| Air temp + Rh (HMP45C) | 1.75 |
| Soil temperature (107) | 0.05 |
| CS616-L (10 ft) Soil Moisture | 0.2 |
| Water table sensor (CS445-L) |  |
| Open Station |  |
| Data logger/sensors | Height/Depth (m) |
| Data logger (CR3000, w/o battery) | 1.5 |
| Barometer (CS105) | 1.5 |
| Air temp + Rh (HMP45C) | 1.75 |
| PAR sensor | 3 |
| IRR-P IR radiometer | 3 |
| Rain gage (TE525MM-l) | 6 |
| Wind monitor (05103-5) | 8 |
| 81000 3-D Ultra Sonic | 8 |
| Soil temperature (107) | 0.05 |
| CS616-L (10 ft) | 0.2 |