| Name of Policy: |  |  | Safe Medical Device Act Compliance |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Policy Number: |  |  | 3364-124-25 |  |  |  |  |
| Department: |  |  | Nursing Service/Operating Room |  |  |  |  |
| Approving Officer: |  |  | Director Surgical Services |  |  |  |  |
| Responsible Agent: |  |  | Chief Nursing Officer |  |  |  | Effective Date: 12/1/2022 |
| Scope: |  |  | Operating Room/Perioperative Services |  |  |  | Initial Effective Date: 6/1993 |
|  |  | New policy proposal |  |  | Minor/technical revision of existing policy |  |  |
|  |  | Major revision of existing policy |  | X | Reaffirmation of existing policy |  |  |

(A)	Policy Statement

Use of any medical device in the Operating Room (OR) will adhere to internal and external safety guidelines.

(B)	Purpose of Policy

To comply with Safe Medical Device Act.

(C)	Procedure

- If a medical device/product is found to be defective, the device/product will be removed from service and decontaminated.  It will then be tagged with a description of the defect.

- After decontamination, the device/product will either be sent to the appropriate Technology Support Department or the Technology Support will be notified, and the device/product will be checked in the OR.

|  | Approved by: |  |  |  | Review/Revision Date: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | /s/ |  |  |  | 6/96 2/99 7/2002 7/2005 6/10/2008 1/8/2009 10/10/2014 2.1.2016 8/1/2019 12/1/2022 |  |  |
|  | Michelle Mallett, MSN, RN, CNOR Director Surgical Services /s/ |  | Date |  |  |  |  |
|  | Kurt Kless, MSN, MBA, RN, NE-BC Chief Nursing Officer |  | Date |  |  |  |  |
|  | Review: Policy & Standard Committee, 2/16, 8/19, 12/22 Revision completed by: Greg Shannon, MSN, RN |  |  |  |  |  |  |
|  |  |  |  |  | Next Review Date: 12/2025 |  |  |
| Policies Superseded by This Policy: 4-25 |  |  |  |  |  |  |  |
| It is the responsibility of the reader to verify with the responsible agent that this is the most current version of the policy. |  |  |  |  |  |  |  |